## Year1
Drinking water scheme: | Quilpie
Year | [6 empty] | 2009
Month | Jan | Feb | Mar | Apr | May | June | July | Aug | Sept | Oct | Nov | Dec
No. of samples collected | Mar: 2; 2009 July: 2; 2009 Sept: 2; 2009 Oct: 2; 2009 Dec: 1
No. of samples collected in which E. coli is detected (i.e. a failure) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
No. of samples collected in previous 12 month period | 2009 Dec: 9
No. of failures for previous 12 month period | 2009 Dec: 0
% of samples that comply | 2009 Dec: 100%
Compliance with 98% annual value | 2009 Dec: YES
CALCULATE PERCENTAGE USING A TWELVE (12) MONTH 'ROLLING' ANNUAL VALUE
The Public Health Regulation 2005 (the regulation) requires that 98 per cent of samples taken in a 12 month period should contain no E. Coli. This requirement is refered to as the 'annual value' in Schedule 3A of the regulation.
This requirement comes into effect once you have 12 months data and should be assessed every month based on the previous 12 months data (so that it is a 'rolling' assessment).
The shaded out area is not applicable if data is not available for the previous 12 months.

## Year2
Drinking water scheme: | Quilpie
Year | [6 empty] | 2010
Month | Jan | Feb | Mar | Apr | May | June | July | Aug | Sept | Oct | Nov | Dec
No. of samples collected | 2 | 2 | 2 |  | 2 | 2 | 2 | 0 | 2 | 2 | 2 | 2
No. of samples collected in which E. coli is detected (i.e. a failure) | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
No. of samples collected in previous 12 month period | 11 | 13 | 13 | 13 | 15 | 17 | 17 | 17 | 17 | 17 | 19 | 20
No. of failures for previous 12 month period | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
% of samples that comply | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100%
Compliance with 98% annual value | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES
CALCULATE PERCENTAGE USING A TWELVE (12) MONTH 'ROLLING' ANNUAL VALUE
The Public Health Regulation 2005 (the regulation) requires that 98 per cent of samples taken in a 12 month period should contain no E. Coli. This requirement is refered to as the 'annual value' in Schedule 3A of the regulation.
This requirement comes into effect once you have 12 months data and should be assessed every month based on the previous 12 months data (so that it is a 'rolling' assessment).

## Year3
Drinking water scheme: | Quilpie
Year | [6 empty] | 2011
Month | Jan | Feb | Mar | Apr | May | June | July | Aug | Sept | Oct | Nov | Dec
No. of samples collected | 0 | 2 | 2 | 2 | 2 | 2 | 2 | 0 | 2 | 2 | 2 | 2
No. of samples collected in which E. coli is detected (i.e. a failure) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
No. of samples collected in previous 12 month period | 18 | 18 | 18 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20
No. of failures for previous 12 month period | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
% of samples that comply | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100%
Compliance with 98% annual value | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES
CALCULATE PERCENTAGE USING A TWELVE (12) MONTH 'ROLLING' ANNUAL VALUE
The Public Health Regulation 2005 (the regulation) requires that 98 per cent of samples taken in a 12 month period should contain no E. Coli. This requirement is refered to as the 'annual value' in Schedule 3A of the regulation.
This requirement comes into effect once you have 12 months data and should be assessed every month based on the previous 12 months data (so that it is a 'rolling' assessment).

## Year4
Drinking water scheme: | Quilpie
Year | [6 empty] | 2012
Month | Jan | Feb | Mar | Apr | May | June | July | Aug | Sept | Oct | Nov | Dec
No. of samples collected | Jan: 2; Feb: 2; Mar: 2; Apr: 2; May: 2; June: 2
No. of samples collected in which E. coli is detected (i.e. a failure) | Jan: 0; Feb: 0; Mar: 0; Apr: 0; May: 0; June: 0
No. of samples collected in previous 12 month period | 22 | 22 | 22 | 22 | 22 | 22 | 20 | 20 | 18 | 16 | 14 | 12
No. of failures for previous 12 month period | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
% of samples that comply | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100%
Compliance with 98% annual value | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES
CALCULATE PERCENTAGE USING A TWELVE (12) MONTH 'ROLLING' ANNUAL VALUE
The Public Health Regulation 2005 (the regulation) requires that 98 per cent of samples taken in a 12 month period should contain no E. Coli. This requirement is refered to as the 'annual value' in Schedule 3A of the regulation.
This requirement comes into effect once you have 12 months data and should be assessed every month based on the previous 12 months data (so that it is a 'rolling' assessment).

## Year5
Drinking water scheme:
Year | [6 empty] | 2013
Month | Jan | Feb | Mar | Apr | May | June | July | Aug | Sept | Oct | Nov | Dec
No. of samples collected
No. of samples collected in which E. coli is detected (i.e. a failure)
No. of samples collected in previous 12 month period | Jan: 10; Feb: 8; Mar: 6; Apr: 4; May: 2
No. of failures for previous 12 month period | Jan: 0; Feb: 0; Mar: 0; Apr: 0; May: 0
% of samples that comply | Jan: 100%; Feb: 100%; Mar: 100%; Apr: 100%; May: 100%
Compliance with 98% annual value | Jan: YES; Feb: YES; Mar: YES; Apr: YES; May: YES
CALCULATE PERCENTAGE USING A TWELVE (12) MONTH 'ROLLING' ANNUAL VALUE
The Public Health Regulation 2005 (the regulation) requires that 98 per cent of samples taken in a 12 month period should contain no E. Coli. This requirement is refered to as the 'annual value' in Schedule 3A of the regulation.
This requirement comes into effect once you have 12 months data and should be assessed every month based on the previous 12 months data (so that it is a 'rolling' assessment).